Ultra-High-Energy Neutrinos at AUTEC:

Phase 2 Installation

G.Gratta and J.Vandenbroucke, May 16, 2003

The experience acquired with the data-set collected until now allows us to envisage a second phase of our work on ultra-high-energy neutrino detection at AUTEC.   The upgrades, using better hardware and software, would permit us to undertake an improved data collection phase that would probably last about two years.

We hope to be able to install a new system that would

- have a better automatic threshold adjustment

- have 2 levels of online computers in order to perform the matching between events in different phones online

- cover a much larger surface/volume of sea

After discussions with David Devau we see the possibility of using the new array as very interesting.   Its main pros (for us) are:

  - Larger volume (we would like to have a more exact definition of this.  Ideally we would like to have a table with the coordinates of all phone in the new system)

  - Access to all phones from Site 1

  - Lower noise (also here we would like to have more technical information)

It is important to understand that there is also a disadvantage.   The phone spacing in the 7-phone system used till now is marginal.  The new array will make this spacing even more marginal.    Hence it is essential that we will be able to readout, together with the new system, also the 2 7-phone fine tracking clusters that according to David are now wired so that they can be readout with the new array from Site 1.   Are these 14 phones included in count of 92 phones that Dave gave us for the new system ?

Finally we would like to make sure that the interface and signal properties are well defined and understood.    We would bring in a number of PCs (exact number to be determined after we have the exact number and map of the phones, probably we will have 1 PC for ever ~10 phones) equipped with commercial 50 Ω digitizer cards.    There should be BNC connectors from where to connect to the phones signals.    During data-taking (that is when AUTEC will decide that our system can be connected) we will have access to the continuous analog output of each of the phones used.    We understand that such analog signal derives from a ADC-digital transmission-DAC system, so that it will be band limited to the sampling speed of the ADC/DAC of ~40 kHz.  This applies also to the 2 7-phone fine tracking sites.         We also would like (at some low priority) to record GPS time for the events we record.    This could be done by tapping into an AUTEC GPS signal or by installing our own receiver, whichever is simpler.

The data collected by this cluster of computers will be passed to a central computer on a dedicated 100BaseT connection.   This computer will further analyze the data and write to disk    We hope that we will allowed to have a very limited FTP connection to our computers for troubleshooting.   The data, however, will be shipped to Stanford on an external hard drive as it was done in the past.

The installation would probably proceed as follows:

- We would install a system with 2 DAQ computer and the common computer

- Will take data for about 1or 2 months

- Will install the rest of the system and, possibly, the GPS.